|  | Unit ID: | BM 23 (260) |
| --- | --- | --- |
| Domain | BOILERMAKING |  |
| Title: | Erect and install steel structures |  |
| Level: 4 |  | Credits: 4 |

Purpose

This unit standard is intended for those who erect and install steel structures as part of Boilermaking. People who are credited with this unit standards can plan and prepare for work; inspect and prepare the site; prepare the components and equipment; erect and install steel structures, and perform housekeeping.

This unit standard is intended for those who works as Boilermakers.

# Special Notes

1         Entry information

Prerequisite:

- 228 – Apply safety rules and regulations in a Boilermaking work environment

- To demonstrate competence, at a minimum, evidence is required of erecting and installing any of the steel structures listed in Special Note 6.  These tasks should be performed ensuring correct identification of requirements and finishing of the tasks, correct selection and use of appropriate processes, tools and equipment and completing all work to specification.

- Assessment evidence may be collected from a real workplace or a simulated real workplace or simulated realistic environment in which boilermaker operations are carried out.

- Performance of all elements in this unit standard must comply with manufacturers’ specifications and workplace specific requirements.

- ‘Specifications’ refers to any, or all of the following: manufacturers’ specifications and recommendations, site and workplace specific requirements.

- Structures include but are not limited to, metal frameworks, stairways, walkways, vessels, tanks, conveyor structures, roof trusses and columns.

- Regulations and legislation relevant to this unit standard include the following:

- Occupational Health and Safety Regulations No.18, 1997

- Labour Act 11 of 2007 and all subsequent amendments.

Quality Assurance Requirements

This unit standard and others within this Subfield may be awarded by institutions which meet the accreditation requirements set by the Namibia Qualifications Authority and the Namibia Training Authority and which comply with the national assessment and moderation requirements. Details of specific accreditation requirements and the national assessment arrangements are available from the Namibia Qualifications Authority www.namqa.org  and the Namibia Training Authority on www.nta.com.na.

# Elements and Performance Criteria

Element 1: Plan and prepare for work

Range

Pre work planning includes but is not limited to correct selection of tools and equipment for the task, materials for the task, personal protective equipment for the task and planning the logical sequence of the task. Planning and preparation include but is not limited to worksite inspection, equipment defect identification, assessment of conditions and hazards and determination of work requirements.

# Performance Criteria

  - Work instructions, including plans, specifications, quality requirements and operational details are obtained, confirmed and applied.

  - Safety requirements are followed in accordance with safety plans and policies.

  - Sign and barricade requirements are identified and adhered to.

  - Plant, tools and equipment selected to carry out tasks are consistent with the requirements of the job, checked for serviceability and any faults are rectified or reported prior to commencement.

  - Environmental protection requirements are identified and applied in accordance with environmental plans and regulatory obligations.

# Element 2: Inspect and prepare the site

Performance Criteria

2.1 	Sites are inspected for correct location, dimensions and levels.

2.2 	Factors that can obstruct erection and installation process are considered.

2.3 	Adjustments are undertaken with approval of the authority.

2.4 	Structure components are identified and checked against specifications.

2.5 	Methods of assembling are identified.

# Element 3: Prepare the components and equipment

Performance Criteria

  - Drawing specifications are identified and interpreted.

  - Tools and equipment to be used are selected.

  - Material is selected and prepared in accordance with specifications.

  - Equipment is set up and test run in accordance with the work procedures.

Element 4: Erect and install steel structure

Range

Erection and installation assembling include and not limited to welding, bolting and riveting.

Performance Criteria

  - Safety procedures are followed in line with workplace procedures.

  - Components are assembled according to erection and installation sequence described on drawing specifications.

  - Steel structure is erected and installed according to drawing specifications.

  - Drifting and reamer processes are explained.

  - Assemble defects are monitored and controlled as per job specifications.

Element 5: Perform housekeeping

# Performance Criteria

  - Plant, tools and equipment are cleaned, checked, maintained and stored in accordance with manufacturers' recommendations and standard work practices.

  - Work area is cleared and materials disposed of, reused or recycled in accordance with legislation, regulations and job specifications.

Registration Data

| Subfield: | Manufacturing Engineering |
| --- | --- |
| Date first registered: |  |
| Date this version registered: |  |
| Anticipated review: | 2024 |
| Body responsible for review: | Namibia Training Authority |